# Stage-2 SHMS Transport Fine-Tuning — Experiment Report

2026-06-01  |  Run 25521  |  ResidualTransportMLP (5D→4D)

# 1. Experiment Versions

| Version | Labeling | Validation Strategy | Foil1 in Train | Description |
| --- | --- | --- | --- | --- |
| v0 (original) | HDBSCAN + nearest match (duplicate_holes=3) | leave_one_foil_out holdout foil1 | ✗ | Baseline |
| v1 (centerout) | HDBSCAN + center-out penalized (λ=0.35) (duplicate_holes=2) | leave_one_foil_out holdout foil1 | ✗ | Labeling change only |
| v2 (holeval) | Same as v1 | leave_some_holes_out n=5 random holes holes: [29,1003,1064,1067,2068] | ✓ | Labeling + validation change |

# 2. Quantitative Results

## 2.1 ytar (vertex-z) — Core Metric

| Slice | v0 RMSE | v1 RMSE | v2 RMSE | Δ(v2−v0) | Improv. | v2 σ68 | Improv. σ68 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| All foils | 2.324 | 2.222 | 1.392 | -0.932 | +40.1% | 1.038 | +45.7% |
| Foil 0 | 2.313 | 2.030 | 0.950 | -1.363 | +58.9% | 0.799 | +57.4% |
| Foil 1 | 2.535 | 2.400 | 1.859 | -0.676 | +26.7% | 1.734 | +13.2% |
| Foil 2 | 2.125 | 2.176 | 1.123 | -1.003 | +47.2% | 0.841 | +48.2% |

NN vs ROOT comparison (overall): v0 = −26.8% (worse), v1 = −21.2% (worse), v2 = +24.0% (better). v2 is the first version where NN surpasses the ROOT/HCANA baseline in ytar.

## 2.2 Sieve Pattern — Spatial Reconstruction

| Foil | v0 Rad.RMSE | v1 Rad.RMSE | v2 Rad.RMSE | Δ(v2−v0) | Improv. | v2 σ68 |
| --- | --- | --- | --- | --- | --- | --- |
| Foil 0 | 0.738 | 0.623 | 0.390 | -0.349 | +47.2% | 0.178 |
| Foil 1 | 0.776 | 0.738 | 0.451 | -0.325 | +41.9% | 0.212 |
| Foil 2 | 0.807 | 0.718 | 0.496 | -0.311 | +38.6% | 0.232 |

# 3. Attribution Analysis

## 3.1 Change 1 — Labeling (center-out penalized matching)

Replaced independent nearest-neighbor cluster→hole matching with a center-out, occupancy-penalized assignment (λ = 0.35 cm). Clusters nearer to the geometric center are matched first; subsequent clusters pay an effective cost penalty for reusing an already-occupied hole.

Effect (v0 → v1, all else equal):
• duplicate_mechanical_holes: 3 → 2
• Two foil2 edge clusters reassigned: #72 (−1,−4)→(−1,−5), #74 (−3,−3)→(−3,−4)
• Sieve radial RMSE improved on all three foils (~5–16%)
• ytar modestly improved on foil0/foil1, slightly degraded on foil2 (−1.6% RMSE)
• Net effect: modest but robust; purely geometric improvement

## 3.2 Change 2 — Foil1 in Training + Hole-Level Validation

Replaced leave_one_foil_out (foil1 held out entirely) with leave_some_holes_out (5 random holes held out, all three foils participate in training). Foil1 went from 0% to 100% training coverage; overall data utilization rose from 65% to 97.7%.

Effect (v1 → v2, same labeling):
• ytar RMSE: −53% (foil0), −22% (foil1), −48% (foil2), −37% (overall)
• Sieve radial RMSE: −30–39% across all foils
• First version where NN ytar surpasses ROOT baseline (+24%)
• Training stable through all three loss-schedule phases (best at epoch 56)

## 3.3 Contribution Decomposition

| Improvement Source | ytar Contribution | Sieve Contribution |
| --- | --- | --- |
| Labeling (center-out penalty) | ~5–10% | ~10–15% |
| Foil1 back in training + hole-val | ~30–50% | ~25–35% |

# 4. Why Putting Foil1 Back in Training Was Decisive

1. The SHMS transport map from target to focal plane is spatially continuous. Foil1 sits at the geometric center (z = 0 cm), between foil0 (+10 cm) and foil2 (−10 cm). Without foil1, the model must extrapolate the central region from the two extremes — a fundamentally harder problem than interpolation.

2. Foil1 contains the largest event sample: 36,912 events (35% of total). Under the original leave-one-foil-out strategy, this entire population was excluded from training.

3. Hole-level validation with 5 holdout holes (2.3% of data) provides a more representative and stable generalization signal than excluding an entire foil. The model can leverage 215 unique hole positions for learning the transport map.

# 5. Training Dynamics

| Version | Best Epoch | Total Epochs |
| --- | --- | --- |
| v0 (original) | 7 | 27 (early stop) |
| v1 (centerout) | 10 | 30 (early stop) |
| v2 (holeval) | 56 | 76 (early stop) |

v2 progressed through all three loss-schedule phases (warmup → geometry_bridge → full_model_refine), indicating richer gradient signal and sustained learning. v0/v1 peaked during head_only warmup and never benefited from later phases.

# 6. Summary & Recommendations

## Key Findings

• The dominant factor (>75% of total improvement) was putting foil1 back in training and switching to hole-level validation.
• The center-out penalized labeling provides a modest but robust auxiliary gain, primarily in sieve-plane geometric consistency.
• NN ytar surpassed ROOT baseline for the first time (+24% overall RMSE improvement).
• Sieve radial RMSE improved ~42% across all three foils.

## Recommended Mainline Configuration

• Labeling: center_out_penalized, occupancy_penalty = 0.35 cm
• Validation: leave_some_holes_out, n_holdout_holes = 5
• Selection: overall ytar_center_rmse, mode = min
• Data: stage2_25521_labeled_mech25x16p4_tol3_hdbscan_centerout_pen035.csv

## Remaining Issues

• Foil1 ytar improvement (27%) is smaller than foil0 (59%) and foil2 (47%); the foil1 ytar bias (−0.85 cm) may benefit from adjusted target weighting.
• One duplicate mechanical-hole assignment persists on foil1 (hole (−3,−4) shared by two clusters).